MEMO

| To: | Consultant Planner | Department: | District Services |
| --- | --- | --- | --- |
| CC: |  | Department: |  |
| From: | Engineers | Department: | Infrastructure & Asset Management |
| Date: | 13-Nov-2019 |  |  |
| Subject: | Lot 2, Newton Road, Omapere 0473 - 2200253-RMASUB |  |  |

- Stormwater: Stormwater management plans, including proposed attenuation measures, are to be submitted for Council approval at the time of development on the proposed Lots. Overland/secondary flowpaths are to be unobstructed by future buildings, other structures or landscaping

- Roads: Application sent to NTA for comment. Awaiting feedback

- Wastewater: Site specific TP58/wastewater reports will be required to be submitted for Council approval at BC stage for the future dwellings on each proposed Lot

- Water: Adequate water supplies are to be provided for the future dwellings on proposed Lots 1, 3, 4 and 5 at BC stage for domestic and firefighting purposes. Firefighting water supplies are to comply with the requirements of the NZ Firefighting Water Supplies Code of Practice SNZ PAS 4509:2008

Yours sincerely

Sujeet Tikaram

Development Engineer