FAR NORTH DISTRICT COUNCIL

FAR NORTH OPERATIVE DISTRICT PLAN

DECISION ON RESOURCE CONSENT APPLICATION (SUBDIVISION)

Resource Consent Number: 2200170-RMASUB

Pursuant to section 104B of the Resource Management Act 1991 (the Act), the Far North District Council hereby grants resource consent to:

Daniel Cleary

The activity to which this decision relates: The proposed activity is to create 7 lots from one title (6 additional) in the Coastal Residential Zone.

Subject Site Details

| Address: | Lot 7, Waianga Place, Omapere 0473 |
| --- | --- |
| Legal Description: | Lot 7 DP 525890 |
| Certificate of Title reference: | CT-842903 |

Pursuant to Section 108 of the Act, this consent is issued subject to the following conditions:

1	The subdivision shall be carried out in accordance with the approved plan of subdivision prepared by Thomson Survey Ltd, referenced “Proposed Subdivision of Lot 7 DP 525890” Ref No. 9608, dated 15.11.19 and attached to this consent with the Council’s “Approved Stamp” affixed to it.

2.	The survey plan, submitted for approval pursuant to Section 223 of the Act shall show:

- All easements in the memorandum to be duly granted or reserved.

- An easement for the overland flow path within Lot 13.

- The following amalgamation conditions imposed pursuant to Section 220(1)9b)(iv):

“That Lot 100 hereon (legal access) be held as to three undivided one-third shares by the owners of Lots 7, 8 and 9 hereon as tenants in common in the said shares and that individual records of title be issued in accordance therewith”; and

“That Lot 101 hereon (legal access) be held in three undivided one-third shares by the owners of Lots 10, 11 and 13 hereon as tenants in common in the said shares and that individual records of title be issued in accordance therewith”.

See LINZ Ref: 1621330

3.	Prior to the approval of the survey plan pursuant to Section 223 of the Act, the consent holder shall:

- Undertake hydrant testing of the water supply reticulation to determine if flows and pressure are compliant with Council requirements. Test results are to be submitted to Council for review. If the results are non-compliant, an alternative water source such as rainwater collection tanks for each dwelling will be required. Firefighting water supplies are to comply with the requirements of the NZ Firefighting Water Supplies Code of Practice SNZ PAS 4509:2008, or with specific approval from FENZ.

- Submit to Council’s Development Engineer and Stormwater Engineer or designate plans, specifications & details of R.O.W.S, intersection, stormwater drainage, wastewater, and water supply for the approval of Council prior to commencing construction. Such works shall be designed in accordance with the Council’s current Engineering Standards and NZS4404:2004.

In particular the plans and details shall show:

- R.O.W easements A, B, C, D and E to provide 5m width sealed or concreted formation and drainage.

- R.O.W easements F to provide a 3m width sealed or concreted formation and drainage with passing bays provided to comply with Rule 15.1.6C.1.3 of the Far North District Plan. Locations of the proposed passing bays within R.O.W. F shall be shown.

- R.O.W easements K to provide a 4m width sealed or concreted formation and drainage with passing bay at the corner.

- R.O.W easements I to provide a 3m width sealed or concreted formation and drainage.

- The upgraded and widened intersection at R.O.W C, D and F.

- A formed and concreted entrance to the boundary of each lot in accordance with Council Standard FNDC/S/6 and 6B.

- Stormwater drainage and construction for R.O.Ws and disposal to control structures.

- The proposed stormwater control works to be in place prior to and during construction.

- Location of the second hydrant on Lot 100 if it is proposed.

- Approved CAR and TMP required for road construction prior to works commencing.

- PS1 (Schedule 1A) certificate signed by a suitable IQP to be submitted for R.O.W design and drainage.

- All assets that are to vest in Council.

- Construction and as-built specifications in accordance FNDC Engineering Standards and Guidelines.

- A reticulated sanitary sewer system with a service connection to each lot.

- A reticulated water supply system with a metered connection to each lot.

- Earthworks including proposed erosion and sediment control measures required to undertake the development of the site

- Following approval of the plans and selection of the contractor, provide to Council;

- Details of the successful contractor

- Details of the planned date and duration of the contract

- Details of the supervising engineer

- A traffic management plan

- Prior to the commencing any physical site works, a construction management plan shall be submitted to and approved by the Council. The plan shall contain information on, and site management procedures, for the following:

- The timing of building demolition and construction works, including hours of work, key project and site management personnel.

- The transportation of demolition and construction materials from and to the site and associated controls on vehicles through sign-posted site entrance/exits and the loading and unloading of materials.

- The excavation works, including retaining structures and any necessary dewatering facilities, prepared by a suitably qualified geotechnical engineer.

- Control of dust and noise on-site and any necessary avoidance or remedial measures.

- Prevention of earth and other material being deposited on surrounding roads from vehicles and remedial actions should it occur.

- Publicity measures and safety measures, including signage, to inform adjacent landowners and occupiers, pedestrians and other users or    Road.

- Erosion and sediment control measures to be in place for the duration of the works.

That all construction works on the site are to be undertaken in accordance with the approved construction management plan.

4.	Prior to the issuing of a certificate pursuant to Section 224(c) of the Act, the consent holder shall:

- Provide to Council As-built plans for R.O.Ws, stormwater drainage, sewage, water supply and all assets that are to vest in Council complying with schedule 1D of NZS 4404:2004 and section 1.5.2.5 of Councils Engineering standards and guidelines.

- Upon completion of the works specified in condition(s) 3(b) and 3(d) above, provide certification (PS3 / Schedule 1b) of the work from contractor(s) that all work has been completed in accordance with the approved plans.

- Upon completion of the works specified in condition(s) 3(b) and 3(d) above, provide certification (PS4 / Schedule 1C) of the work from a chartered professional engineer that all work has been completed in accordance with the approved plans.

- Provide a formed double width entrance to each lot which complies with the Councils Engineering Standard FNDC/S/6 and 6B, and section 3.3.17 of the Engineering standards and NZS4404:2004. Seal the entrance plus splays for a minimum distance of 6m from the existing edge.

- Provide to Council written confirmation from a registered surveyor that the access carriageway is fully contained within the easements provided for access.

- Provide documentation that the service providers of electric power and telecommunications to the sites are satisfied with the arrangements made for the provision of these services.

- Where infrastructure is not proposed to be vested to Council and is to remain in private ownership, provide for Council approval a legal document that details how this private infrastructure will be managed and maintained by each owner and provide a solicitor’s undertaking to register the approved legal document against the appropriate titles. Note that Council is not to be a party to the maintenance and management of these common areas and private reticulation systems.

- Provide evidence that electrical and telecommunication services have been reticulated to the boundaries of each lot to the satisfaction of the respective service providers.

- Upgrade Right of Way F to include two concrete or sealed passing bays constructed in accordance with Rule 15.1.6C.1.3 of the Far North District Plan and FNDC Engineering Standards and Guidelines 2009.

- Provide formed and concreted or sealed access on Right of Way C, D, and E to 5m finished carriageway width between chainage 00 and 80 (see “ROW 2”) as outlined in the “Site Plan” prepared by LDE, Project Ref. 17225, and dated 19.12.2019. The formation shall include kerbing or a concreted dish channel to contain stormwater runoff as well as catch pits and culverts to control and direct the discharge of stormwater runoff.

- Provide formed and concreted or sealed access on Right of Way K to 4m finished carriageway width between chainage 80 and 150 (see “ROW 2”) as outlined in the “Site Plan” prepared by LDE, Project Ref. 17225, and dated 19.12.2019. The formation shall include kerbing or a concreted dish channel to contain stormwater runoff as well as catch pits and culverts to control and direct the discharge of stormwater runoff.

- Provide formed and concreted or sealed access on Right of Way K and I to 3m finished carriageway width between chainage 150 and 204 (see “ROW 2”) as outlined in the “Site Plan” prepared by LDE, Project Ref. 17225, and dated 19.12.2019. The formation shall include kerbing or a concreted dish channel to contain stormwater runoff as well as catch pits and culverts to control and direct the discharge of stormwater runoff.

Consent Notice Conditions

- Secure the condition below by way of a Consent Notice issued under Section 221 of the Act, to be registered against the titles of the affected allotment.  The costs of preparing, checking and executing the Notice shall be met by the Applicant.

Lots 7-13

  - In conjunction with the construction of any building or site combined impermeable surfaces of up to 250m2, the lot owner shall install a stormwater detention system with an appropriate flow attenuated outlet directed towards the existing stormwater infrastructure. The stormwater detention system shall be at least 15,000l in size as outlined in the Site Suitability Report prepared by LDE, Project 17225, Revision 1, dated 11 December 2019.

Where total impermeable surfaces exceed 250m2 on the site, the lot owner shall, in conjunction with a building consent application, submit for the approval of Council’s Stormwater Engineer a report prepared by a suitably qualified Chartered Professional Engineer. The report shall detail the on-site detention and flow attenuation of stormwater from the site. The flow shall be limited to the pre-development level for rainfall events up to those with a 1% AEP with a climate change allowance of 2.50C included.

  - In conjunction with the construction of any dwelling, and in addition to a potable water supply, a water collection system with sufficient supply for fire fighting purposes is to be provided by way of tank or other approved means and to be positioned so that it is safely accessible for this purpose. These provisions will be in accordance with the New Zealand Fire Fighting Water Supply Code of Practice SNZ PAS 4509.

  - Any building erected on the lot shall have foundations specifically designed by a suitably qualified chartered professional engineer. The details of design and a Geotechnical Investigation Report shall be submitted in conjunction with the Building Consent application.

Advice Notes

- Archaeological sites are protected pursuant to the Heritage New Zealand Pouhere Taonga Act 2014. It is an offence, pursuant to the Act, to modify, damage or destroy an archaeological site without an archaeological authority issued pursuant to that Act. Should any site be inadvertently uncovered, the procedure is that work should cease, with the Trust and local iwi consulted immediately. The New Zealand Police should also be consulted if the discovery includes koiwi (human remains).  A copy of Heritage New Zealand’s Archaeological Discovery Protocol (ADP) is attached for your information.  This should be made available to all person(s) working on site.

- Any further development at Waianga Place will require a review by the New Zealand Transport Agency of the intersection of Waianga Place and and State Highway 12.

Reasons for the Decision

- The Council has determined (by way of an earlier report and resolution) that the adverse environmental effects associated with the proposed activity are no more than minor and that there are no affected persons or affected customary rights group or customary marine title group.

- District Plan Rules Affected:

The proposal breaches rules 13.7.2.1 as there are no permitted subdivision. The proposal however complies with the Controlled Activity criteria. The subdivision serves more than 9 sites at Easements A, B, and C and rule 15.1.6C.1.1(d) requires an upgrade to a public road. This is not being proposed and is breached accordingly.

Adverse effects will be less than minor:

It is considered the relevant and potential effects have been addressed within the assessment of effects above, and it has been concluded that the adverse effects will be less than minor.

Positive effects of the proposal:

Under s104(1)(a) the positive and potential effects of the proposal are:

- The potential effects of the proposal included the appropriate provision of infrastructure for coastal residential development and mitigation of land slippage risks.

- Positive effects of the proposal include increased residential development opportunities within Opononi and flow on employment and economic growth benefits associated with development.

Objectives and policies of the District Plan:

The following objectives and policies of the District Plan have been considered:

- Chapter 10.8.3 and 10.8.4 – Coastal Residential Zone

- Chapter 13.3 and 13.4 – Subdivision

- Chapter 15.1.3 and 15.1.4 – Transportation

The proposal is not contrary to the relevant objectives and policies of the District Plan. The proposal promotes allotments that are suitable for coastal residential development with appropriate infrastructure to be provided. The requirement for a public road is not appropriate in this case and Council has agreed with the access arrangements onto the site for the development.

- In accordance with an assessment under s104(1)(b) of the RMA the proposal is consistent with the relevant statutory documents.

- The Northland Regional Policy Statement 2016;

- Regional plans (including proposed Regional Plan)

- New Zealand Coastal Policy Statement 2010

As the proposal meets the controlled standard for subdivision, many of the higher level objectives and policies only have minor relevance. The proposal is located within the Coastal Environment and the assessment undertaken in the AEE is concurred with. Specifically:

- The site is not within an area identified as having any coastal hazards;

- The subdivision promotes consolidation of development;

- The site does not contain any significant indigenous vegetation or habitat;

- The proposal is not located near the coastal marine area and does not promote any esplanade reserves or areas for public access;

- The development is unlikely to cause impacts to water quality as the proposed will connect to Council systems to manage wastewater and stormwater.

From a regional perspective the sentiments found within the AEE are also concurred with. The site is adequately serviced with infrastructure, consolidated urban development, does little to impact natural character and maintains and enhances the sense of place and character of the site and surrounds.

- Part 2 Matters

The Council has taken into account the purpose & principles outlined in sections 5, 6, 7 & 8 of the Act. It is considered that granting this resource consent application achieves the purpose of the Act.

- In summary it is considered that the activity is consistent with the sustainable management purpose of the RMA.

Approval
This resource consent has been prepared by Consultant Planner, Steve Sanson

and is granted under delegated authority (pursuant to section 34A of the Resource Management Act 1991) from the Far North District Council by:

_________________________

Pat Killalea, Principal Planner

__________________________

Date

Right of Objection

If you are dissatisfied with the decision or any part of it, you have the right (pursuant to section 357A of the Resource Management Act 1991) to object to the decision. The objection must be in writing, stating reasons for the objection and must be received by Council within 15 working days of the receipt of this decision.

Lapsing Of Consent

Pursuant to section 125 of the Resource Management Act 1991, this resource consent will lapse 5 years after the date of commencement of consent unless, before the consent lapses;

The consent is given effect to; or

An application is made to the Council to extend the period of consent, and the council decides to grant an extension after taking into account the statutory considerations, set out in section 125(1)(b) of the Resource Management Act 1991.