26 August 2022

Jeffery Alexander McTainsh and Gwendoline Mary McTainsh

C/- First Homes (Bay of Plenty) Limited

1 Aeropark Way

Mount Maunganui  3116

| Reference Number: | EBC-2022-1634/0 |
| --- | --- |
| Property Address: | 9 Dune Rise, Whirinaki 0473 |
| Property ID # | 3362412 |
| Description: | Foundations for Prefabricated Transportable Dwelling and Install On-Site Wastewater System |

Dear Sir / Madam

Further Information Request – Building Followup

Work on your application has been suspended because further information is required to demonstrate compliance with the New Zealand Building Code. Processing of your application will resume on receipt of all of the information listed below:

- Section 6.2 of Geotechnical Report requires Geotechnical drawing review to confirm the foundation design is as per the geotechnical recommendations.  Please provide confirmation that Geotechnical engineer reviewed proposed design.

- Geotechnical report recommends a minimum embedment for all concrete encased timber pole foundations of 800mm below existing ground level (section 5.4 of the report).  However, sheet 11 of plans do not show embedment of ordinary piles.  Please indicate recommended embedment of the pile, for ease of confirmation  on site and resubmit the page.

To reduce further processing costs and delays, please email ALL the listed information in one response to bsg@fndc.govt.nz.

If you are a registered customer, select the link below to provide this information:

https://online.fndc.govt.nz/ePathway/Production/Web/GeneralEnquiry/ExternalRequestBroker.aspx?Type=L-BDAP&Module=EGELAP&Class=BUILD&ResponseType=FINFO&ApplicationId=937185&DocumentId=4535786&ForceLogin=true

If there are good reasons why you cannot supply this information, please contact us urgently. We may be able to assist or arrange an extension of time.

We will hold your application for 20 working days from the date of this letter. If we do not hear from you or receive the outstanding information in that time we may refuse the application.

Should you have further questions please contact the building team on 0800 920029 or 09 401 5200 or email us at bsg@fndc.govt.nz.

Yours faithfully,

pp.

Victoria Cree

Building Control Officer

District Services

Emailed to: julia@firsthomes.nz