PLANNING CERTIFICATE CHECKLIST

| Date: | 08-Apr-2020 | RC : | 2200170 |
| --- | --- | --- | --- |
| Client | Daniel James Cleary | Landonline Ref: | 546644 |
| LT/DP No: | Lot 7 DP 525890 | Property Address: | Lot 7, Waianga Place, Omapere 0473 |

COMBINED CERTIFICATES APPLIED FOR:    STAGE:

| CER -1797-CER223 | $250.00 |  |  |
| --- | --- | --- | --- |

RESOURCE CONSENT WILL REQUIRE CHECKS AND INSPECTION BY THE FOLLOWING:

| Planning Check: | Yes |  | Condition: |
| --- | --- | --- | --- |
| Engineering Check | Yes | No | Condition: 2(b), 3(a), 3(b), 3(c) and 3 (d) |

TRACKING SHEET AND SIGN OFF

| Certificate | Planner/ Engineer | Date | Recommendation |  | Reason for Failed Planner/ Engineer Check |
| --- | --- | --- | --- | --- | --- |
| 223 | L Searle | 08-04-20 | Passed | Failed | Easement G now shown as easements R and T Easement Q right to drain water over Lot 13 (as per condition 2(b)) Amalgamations checked Lot 9 increased from 1,217 m² to 1,401 m² - 15% change Lot 10 increased from 1,150 m² to 1,288 m² - 12% change Lots 9 and 10 generally follow the approved boundaries, effects regarded as inconsequential |
| Engineering | R Shand | 16-06-2020 | Passed | Failed | Note – I checked the s223 conditions and found that there was some conditions required prior to 223 that should have been applied prior to s224, some conditions which were duplicated and condition 3(a) which was still awaiting a pressure and flow test. After consulting with Pat about the need for a variation, I can sign off the s223 and leave the duplicated or misplaced conditions until the s224 sign-off. Accordingly, please complete the paperwork for the sign-off of the 223. |
| Principal Planner |  |  | Approved | Issued |  |

RESOURCE PLANNER:	                                                        DATE:	08-04-20

RC ENGINEER:							DATE:

To be returned to:

No address details could be found.