17 May 2019

Jeanette Milly England

PO Box 171

Opononi  0445

Building Consent Number:; BC-2006-1192/3. Address:; 25 Taumatawiwi Street, Opononi 0473. Property ID:; 3327853. Description:; New Dwelling.

Dear Sir / Madam,

Final Inspection Review

A final inspection of your building project was carried out and the following items will need to be actioned before Code Compliance can be signed off:

- PS4 from engineer for foundation (if available) not essential as foundation was inspected by Council.

- Gulley trap to be far more visible and accessible.

- UV protection around all gas and water serviced where applicable.

- A copy of the Gas Compliance Certificate is required.

- A copy of electrical Compliance Certificate is required.

- A letter from agent confirming panel H1 values match the consented plans is required.

- Simon Grimme to confirm (at site ) the cladding runs above fascia and soffit sufficiently to negate the need for any reverse eave flashings.

- Storm water pipes to be secured under house to prevent downward creep or movement.

- Top of timber stairs to comply F4 NZBC.

- Surface rust of top of connection panels to be rust protected and re- painted.

- Down pipe clips to be fitted where required (some missing).

- Flashing over garage door to comply fully with E2 NZBC.

- Boxed corners to be sealed and painted better.

- Seal and paint negative detail joints in AMROCK exterior panels.

- Seal all relevant wall and floor services in the bathroom area.

- Fit smoke alarms in accordance with F7 NZBC.

- Seal and paint around kitchen sink to comply G3 NZBC.

- Provide a copy of the As Built Drainage Plan.

- Veranda stringer connections to comply NZS 3604.

- Provide a PS3 from plumber drain layer if available.

- Resource consent issues to be checked by planning staff

- Rebook an inspection by phoning 0800 920029 or 09 4015200 and quoting your Building Consent Number BC-2006-1192/3.

To ensure your Code Compliance Certificate can proceed in a timely manner, documentation requested can either be:

- emailed to ccc@fndc.govt.nz

- posted in to Private Bag 752, Memorial Ave, Kaikohe 0440

- dropped off at one of our Service Centres or

- handed to the Building Officer if a re-inspection is required.

If you have any questions please contact the Building Team on 0800 920 029 or 09 401 5200.

Yours faithfully,

p.p.

Rodney Spooner

Building Control Officer

District Services

Emailed to:  gkjmengland@hotmal.co.nz